## Construction QC
Construction quality control checklist
Enter details in the pale yellow cells and pick Pass, Fail, or N/A for each check.
Inspection date
Inspector
Project
Location / area
Trade / subcontractor
Drawing / spec reference
Inspection phase
Before work starts
Check | Result | Notes
1. Approved submittals on site
2. Current drawings and specs on site
3. Materials match approved submittals
4. Materials stored and protected
5. Prior work complete and accepted
Pass count
Fail count
N/A count
Sitework and foundation
Check | Result | Notes
1. Layout and elevations verified
2. Subgrade prepared and compacted
3. Forms, rebar, and embeds checked before pour
4. Concrete tests taken
5. Anchor bolts and hold-downs placed
Pass count
Fail count
N/A count
Structure and framing
Check | Result | Notes
1. Members plumb, level, and square
2. Connections and fasteners per drawings
3. Sheathing and nailing
4. Openings and headers
Pass count
Fail count
N/A count
Building envelope
Check | Result | Notes
1. Weather barrier lapped correctly
2. Window and door flashing
3. Roof penetrations sealed
4. Insulation installed without gaps
Pass count
Fail count
N/A count
MEP rough-in
Check | Result | Notes
1. Rough-in inspections passed
2. Penetrations firestopped
3. Clearances and access maintained
4. Pressure tests recorded
Pass count
Fail count
N/A count
Finishes
Check | Result | Notes
1. Drywall finish
2. Paint and coatings
3. Flooring and trim
4. Fixtures and devices installed
Pass count
Fail count
N/A count
Closeout
Check | Result | Notes
1. Punch list items closed
2. As-built drawings updated
3. Manuals and warranties collected
Pass count
Fail count
N/A count
Deficiencies found
Corrective action
Result
Re-inspection date
Inspector sign-off / date
Superintendent sign-off / date
Template: mobileform.app/templates/construction-quality-control-checklist